## Device Safeguards
Medical Device Safeguard Register — where a specification cannot be met, an alternative is documented
MercyBridge Health Network — Physical §164.310 & Technical §164.312 Safeguards ¦ MFA · encryption · audit logging at 68 of 68 ¦ Confidential — ePHI // Illustrative
Device Population | Count | Encryptable? | Patchable? | Primary Safeguard | Documented Alternative
ePHI-bearing, supported OS | 1,870 | Yes | Yes | Encryption + patching + VLAN | —
ePHI-bearing, unsupported OS | 1,300 | Partial | No (vendor-limited) | VLAN isolation; default-deny egress | ESC-D1 … ESC-D5
Non-ePHI clinical equipment | 2,950 | N/A | Mixed | VLAN segmentation; monitoring | —
Imaging modalities (leased) | 210 | Vendor-controlled | Vendor cadence | Contract terms; sanitization on return | ESC-D3
Telemetry transmitters (legacy) | 118 | No | No | Isolated VLAN; no routable egress | ESC-D2 §164.306(d)(3)(ii)(B)
TOTAL FLEET | 6,120 | 2,240 encrypted of 3,170 ePHI-bearing | — | 96 device VLANs | 5 documented alternatives